## Slide 1: New York Energy Consumers Council, Board Member Meeting Thursday, December 14, 2023
Presenter:
George Diamantopoulos, Esq.,
Counsel to the NYECC

## Slide 2: Con Edison Steam Rate Case (22-S-0659) Energy Efficiency Proceeding (18-M-0084)
PSC adopts JP as filed in Steam Rate Case
4/10/23 – 18-M-0084 – NYSERDA Report Assessing Energy Efficiency and Building Electrification Potential in NYS Residential and Commercial Buildings
ConEd non-Low and Moderate Income Energy Efficiency and Building Electrification withdraws petition for RDM tied to steam efficiency
EE & BE programs reduced energy use

## Slide 3: Energy Efficiency Proceeding (18-M-0084) : Con Ed Non-Low and Moderate Income Energy Efficiency and Building Electrification Portfolio Proposal Filing
Primary proposal is aligned with the EE & BE Order
To identify the actions needed to pursue attainment of the Zero Emission by 2040 Target:
Between 2026-2030, Base Portfolio Plan will electrify homes and nonres space
Primary proposal is aligned with the EE & BE Order
Between 2026-2030, Base Portfolio Plan will electrify homes and non-res spaces
Secondary proposal aligns with CLCPA Final Scoping Plan
Revenue Requirement increase in 2030 in Expanded Portfolio Plan
Scale up program activity, 2026, 2030

## Slide 4: Energy Efficiency Proceeding (18-M-0084) : Con Ed Non-Low and Moderate Income Energy Efficiency and Building Electrification Portfolio Proposal Filing
Primary proposal is aligned with the EE & BE Order
To identify the actions needed to pursue attainment of the Zero Emission by 2040 Target:
Between 2026-2030, Base Portfolio Plan will electrify homes and nonres space
No less than 85% of funds for strategic measures such as bldg electrification and envelope
Costs per unit of energy savings: $7-$20 per LMMBtu
No more than 15% of funding is for neutral (non-strategic) measures
Costs per unit of energy savings: less than $5 per LMMBtu
ConEd Requests: additional funding for steam EE, Labor costs, EAMs

## Slide 5: Energy Efficiency Proceeding (18-M-0084) : Con Ed Non-Low and Moderate Income Energy Efficiency and Building Electrification Portfolio Proposal Filing
To identify the actions needed to pursue attainment of the Zero Emission by 2040 Target:

## Slide 6: 22-E-0064 – Con Edison Climate Change Resilience Plan – filed 11/21/23
Primary proposal is aligned with the EE & BE Order
To identify the actions needed to pursue attainment of the Zero Emission by 2040 Target:
Resilience programs will minimize outages from extreme weather events and restore service faster when outages do occur. Investment projection of $903m 2025-2029.
Estimate rate plan impact of $173m. 2.1% on delivery, 1.4% overall bill
Projects $2.4b from 2025-2034.
Projects $5.6b from 2025-2044

## Slide 7: 15-E-0302 – Large Scale Renewable Program and Clean Energy Standard Proceeding
8/16/23 – NYECC filed Comments on Zero Emissions Target
To identify the actions needed to pursue attainment of the Zero Emission by 2040 Target:
None of the GSLTP’s proposed pathway bill impact rate increases are realistically sustainable and will inevitably result in unjust and unreasonable rates for customers.
10/31/23 – Fed Gov’t initiative to directly purchase Carbon Dioxide Removal (CDR) from domestic providers
-Up to $35M in cash awards.
-Increasingly larger awards through three phases.
-Applications due by Nov. 30.
12/11 and 12/12/23 – Technical Conference on “gap”
1/19/24 – Supplemental Comments due on Zero Emissions

## Slide 8: Con Edison Gas System Long Term Plan - 23-G-0147 – filed 5/31/23
11/21/23 – ConEd reply comments to NYECC’s comments
To identify the actions needed to pursue attainment of the Zero Emission by 2040 Target:
None of the GSLTP’s proposed pathway bill impact rate increases are realistically sustainable and will inevitably result in unjust and unreasonable rates for customers.
10/31/23 – Fed Gov’t initiative to directly purchase Carbon Dioxide Removal (CDR) from domestic providers
-Up to $35M in cash awards.
-Increasingly larger awards through three phases.
-Applications due by Nov. 30.
11/29/23 – ConEd Final Plan Filed
12/11/23 – PA Final Report. PSC will issue Notice for comments